Republic of the Philippines

CITY OF ALAMINOS

Province of Pangasinan

INVITATION TO BID FOR THE PROCUREMENT OF VARIOUS EQUIPMENT FOR ENGINEERED SANITARY LANDFILL, BRGY. DULACAC, CITY OF ALAMINOS, PANGASINAN

- The CITY GOVERNMENT OF ALAMINOS, PANGASINAN through the Continuing Appropriation (General Fund – Loan Funded Project) intends to apply the sum of Five Hundred Sixty Two Thousand Nine Hundred Fifty Pesos Only (Php 562,950.00) being the Approved Budget for the Contract (ABC) to payments under the contract for the PROCUREMENT OF VARIOUS EQUIPMENT FOR ENGINEERED SANITARY LANDFILL, BRGY. DULACAC, CITY OF ALAMINOS, PANGASINAN. Bids received in excess of the ABC shall be automatically rejected at bid opening.

| QTY. | UNIT OF MEASURE | ITEM DESCRIPTION |  |  |
| --- | --- | --- | --- | --- |
| 1 | unit | Power Spray |  |  |
|  |  | Specifications: |  |  |
|  |  | Motor: 1.5HP |  |  |
|  |  | Single Phase |  |  |
|  |  | 60Hz |  |  |
|  |  | 220VA |  |  |
|  |  | Includes: |  |  |
|  |  | 10 meters sprayer hose |  |  |
|  |  | 1.5 meters suction and return hose foot strainer |  |  |
|  |  | spray gun (wand type) |  |  |
|  |  | repair kit |  |  |
| 1 | unit | Water Pump |  |  |
|  |  | Specifications: |  |  |
|  |  | 6HP |  |  |
|  |  | Gasoline Engine |  |  |
|  |  | Intake / Exhaust 3” |  |  |
|  |  | Inclusive of 3M intake hose with strainer |  |  |
| 1 | unit | Air Condition 2.0HP |  |  |
|  |  | with installation materials: |  |  |
|  |  | 75 meters THHN #10 |  |  |
|  |  | 25 pieces PVC pipe |  |  |
|  |  | 1 set ACU outlet |  |  |
|  |  | 1 pair circuit breaker 30amp |  |  |
|  |  | 1 piece surface type box |  |  |
| 1 | unit | Generator Set (brand new) |  |  |
|  |  | Specifications: |  |  |
|  |  | Alternator |  |  |
|  |  | Frequency: 60Hz |  |  |
|  |  | Output rating (KVA): 10 (prime) |  |  |
|  |  | : 12 (standby) |  |  |
|  |  | Phase: Single |  |  |
|  |  | Rated Voltage: 200-240V |  |  |
|  |  | Power Factor: 0.8 (lagging) |  |  |
|  |  | Excitation: Brushless rotating exciter with |  |  |
|  |  | Automatic Voltage Regulator (AVR) |  |  |
|  |  | Insulation: Class H |  |  |
|  |  | Engine |  |  |
|  |  | Base Frame: Heavy duty fabricated steel |  |  |
|  |  | Type: Vertical in-line, water cooled, 4-stroke, direct injected |  |  |
|  |  | Output rating: 12KW / 1800rpm |  |  |
|  |  | Number of Cylinder: bore x stroke; 3-80 x 90mm |  |  |
|  |  | Piston Displacement: 1.357 liters |  |  |
|  |  | Battery Capacity: 12V – 80Ah |  |  |
|  |  | Fuel Tank Capacity: 60 liters |  |  |
|  |  | Dimension: dB @ 70:70 |  |  |
|  |  | Warranty |  |  |
|  |  | 2 years |  |  |
|  |  | *Weather Proof / Sound Proof Enclosure |  |  |
|  |  | *Delivery, Testing and Commissioning on site |  |  |

- The CITY GOVERNMENT OF ALAMINOS, PANGASINAN now invites bids for the above Procurement Project. Delivery of the Goods is required within Thirty (30) Calendar Days upon receipt of the Notice to Proceed. Bidders should have completed, within two (2) years from the date of submission and receipt of bids, a contract similar to the Project. The description of an eligible bidder is contained in the Bidding Documents, particularly, in Section II (Instructions to Bidders).

- Bidding will be conducted through open competitive bidding procedures using a non-discretionary “pass/fail” criterion as specified in the 2016 Revised Implementing Rules and Regulations (IRR) of Republic Act (RA) No. 9184.

- Bidding is restricted to Filipino citizens/sole proprietorships, partnerships, or organizations with at least sixty percent (60%) interest or outstanding capital stock belonging to citizens of the Philippines, and to citizens or organizations of a country the law or regulations of which grant similar rights or privileges to Filipino citizens, pursuant to RA No. 5183.

- Prospective Bidders may obtain further information from the CITY GOVERNMENT OF ALAMINOS, PANGASINAN and inspect the Bidding Documents at the address given below during 8:00AM to 5:00PM.

- A complete set of Bidding Documents may be acquired by interested Bidders on April 13 – May 3, 2021 from the given address and website below and upon payment of a non-refundable fee for the Bidding Documents in the amount of One Thousand Pesos Only (Php 1,000.00) at the BAC Secretariat, City Engineering Office, City of Alaminos, Pangasinan.

Bidding Documents may also be downloaded from the website of the Philippine Government Electronic Procurement System (PhilGEPS) provided that bidder shall pay the fee for the Bidding Documents prior to the submission of bids.

- Bids must be duly received by the BAC Secretariat on or before May 3, 2021, 9:30 A.M. at the City Budget Office, City Hall Building, City of Alaminos, Pangasinan. Late bids shall not be accepted.

- All bids must be accompanied by a bid security in any of the acceptable forms and in the amount stated in ITB Clause 14.

- Bid opening shall be on May 3, 2021, 10:00 A.M. at the City Conference Hall, City Hall Building, City of Alaminos, Pangasinan.  Bids will be opened in the presence of the bidders’ representatives who choose to attend the activity.

- The CITY GOVERNmENT OF ALAMINOS, PANGASINAN reserves the right to reject any and all bids, declare a failure of bidding, or not award the contract at any time prior to contract award in accordance with Section 35.6 and 41 of the 2016 Revised Implementing Rules and Regulations (IRR) of RA No. 9184, without thereby incurring any liability to the affected bidder or bidders.

- For further information, please refer to:

ROLEVER C. BERNABE / ENGR. WILSON C. ROSARIO

Head – BAC Secretariat / Member – BAC Secretariat

City General Services Office / City Engineering Office

Alaminos City Hall Building

Quezon Avenue, Poblacion, City of Alaminos, Pangasinan

(075) 696-1559 / (075)551-3034

bacsecretariat12020@gmail.com

www.alaminoscity.gov.ph

ROWENA F. RUIZ

City Budget Officer

Chairperson - Bids and Awards Committee